|  |  |
| --- | --- |
| ucseal_540_139 | University of California, Berkeley Division of Real Estate Inspection Checklist – Lab Supplement |
| Project Name:  | Project Mgr.:  |
| Project Number:  | General Contractor:  |
| Building/CAAN#:  |
| Scope: |
| Inspector of Record: | Fire Marshal: | Date issued: |

This document identifies the office that should be contacted first regarding inspection of the work described in each category.  Each contractor inspection request (CIR) must be entered in the "on-line CIR system."  The categories set forth in this document are general, so work may be inspected by the identified office, another office, or multiple offices, depending upon the specific nature of the work.  If an office other than the office identified herein is performing the inspection or related inspection(s), the party requesting the inspection will be notified.  ​Regardless of which office or offices inspect the work, all work must be in compliance with all applicable codes and with standards set forth in the contract documents.

| **Description** | **n/a** | **Primary contact** | **Observed By** | **Remarks** | **Date** |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
| 1. Mechanical system balancing |  | BO |  |  |  |
|  |  |  |  |  |  |
| 2. Refrigeration Leak Detection |  | CFM |  |  |  |
|  |  |  |  |  |  |
| 3. Fume Hood: |  | CFM |  |  |  |
| Corrosion Resistant Sprinkler |  |  |  |  |  |
| Ventilation Certified |  |  |  |  |  |
| Automatic Closing Sash |  |  |  |  |  |
|  |  |  |  |  |  |
| 4. Flammable Liquids Storage Cabinet: |  | CFM |  |  |  |
| NFPA 30 Compliance/U.L. Listed |  |  |  |  |  |
| Self-Closinq Doors |  |  |  |  |  |
| Venting |  |  |  |  |  |
| Grounding |  |  |  |  |  |
| Anchored |  |  |  |  |  |
|  |  |  |  |  |  |
| 5. Gas Cabinet: |  | CFM |  |  |  |
| Sprinkler |  |  |  |  |  |
| Ventilation Certified |  |  |  |  |  |
| Self-Closing Port Hole |  |  |  |  |  |
|  |  |  |  |  |  |
| 6. Chemical Storage Cabinet: |  | CFM |  |  |  |
| Self-Closing Doors |  |  |  |  |  |
| Self-Latching Door |  |  |  |  |  |
| Venting |  |  |  |  |  |
| Anchored |  |  |  |  |  |

\* CFM-Campus Fire Marshal, BO-Building Official, CFM/BO – CFM is the primary enforcing agency, however, Building Official will perform field inspections on behalf of CFM