|  | #### Job Safety Analysis |  |  |  |
| --- | --- | --- | --- | --- |
|  | Safety Information for the University of California, Berkeley |  |  |  |
|  | #### Recreational Sports - Maintenance |  |  |  |
|  | #### Handling/Transporting/Storing a Fuel Container or #### Hazardous Chemicals |  |  |  |
|  | ## General Precautions: Exposure to chemicals can result in acute or long-time health effects. Touching, picking up, or moving a fuel container can be hazardous to a responder. A fuel container can be touched, picked up and/or moved after assessment and conclusion that it poses no imminent danger to the person handling the item. |  |  |  |
|  | Task | Hazards |  | Controls |
|  | - If handling a fuel container or chemicals, assess the condition of the container away from its location by interviewing the “owner”. | Explosion during assessment |  | Prevent entry into location of fuel container or chemical. Warn others of a potentially hazardous fuel container or chemicals. |
|  | - If handling a fuel container or chemicals, determine what other materials or substances are in the immediate area. | Risk of exposure to other chemicals that may be present with the fuel container if it leaks of explodes |  | Avoid entry into location with suspect material. If safe, proceed with caution. |
|  | - Handling chemicals. | Exposure to chemicals |  | Always review the Material Safety Data Sheet (MSDS) for each chemical before using. Avoid direct contact with chemicals. Use Personal Protective Equipment (PPE) where necessary (according to the MSDS). Adjust ventilation for proper air circulation or use chemical outside. |
|  |  | Slipping/falling |  | Ensure that work area is not on slippery surface. Wear proper footwear to prevent slipping. Free area of physical hazards and debris. |
|  | - Transporting fuel containers or chemicals. | Spilling |  | Secure lids before moving chemicals. Ensure the path to destination is clear. Make certain that chemical or fuel will not spill due to unsecured transport. See above for additional information. |
|  | - Decontaminating area if chemicals are spilled. | Exposure to chemicals |  | See above for more information. |
|  |  | Back injury from being in low position |  | Bend knees to lessen pressure on back when reaching for a low position. Use hand to support body on leg. |
|  | - Storing chemicals. | Spilling due to unsecured containers |  | Secure lids before storing. Store chemicals in a secure and level location. |
|  |  | Potential explosions of incompatible chemicals |  | Properly label all chemicals. Review MSDS for incompatible chemical storage. Store flammable chemicals in a fire-safe storage cabinet. |
|  | Required Training: IIPP, MSDS usage, familiarity with protocols in stabilizing and transporting fuels and chemicals. | Required Personal Protective Equipment (PPE) Gloves, respirator, eye protection, and coveralls |  |  |
| Other Information: |  |  |  |  |
| Contributors: | Department of Recreational Sports |  |  |  |
| Created: | June 2004 |  |  |  |
| JSA Library Number: | RS-Maint-07 |  |  |  |
|  | For more information about this JSA, contact the Office of Environment, Health and Safety at UC Berkeley, 317 University Hall #1150, Berkeley, CA 94720-1150 (510) 642-3073  http://www.ehs.berkeley.edu |  |  |  |